You have turned on both Zernikes and Kolmogorov Turbulence. Would you like to turn one off?
y/n : n
make: circular COSINE pupil(1)

Pupil Mask Constructed

IrisAO Mirror Constructed

Using a Flat instead of the BMC

Injected Aberrations:
    n m Number_of_waves
    _ __ _______________
    1 -1 0.20746
    2 0 -0.2048
    3 3 0.42274
    3 1 -0.31564
Rendering AOScreen Simulated Turbulence.
Wind =
     4
     4
expected_strehl =
    0.8781
Making Fields
Making Diffraction Limited PSF

Press Enter when figure is sized to liking
Movie Calibration Complete

Initializing Data Cubes

Starting the loop

Loop #1 Approximate Strehl: 0.324064
Loop #2 Approximate Strehl: 0.324064
Loop #3 Approximate Strehl: 0.324064
Loop #4 Approximate Strehl: 0.324064
Loop #5 Approximate Strehl: 0.324064

Loop Closes Here
Loop #6 Approximate Strehl: 0.932898
Loop #7 Approximate Strehl: 0.976629
Loop #8 Approximate Strehl: 0.993957
Loop #9 Approximate Strehl: 0.995532
Loop #10 Approximate Strehl: 0.996117
Loop #11 Approximate Strehl: 0.996516
Loop #12 Approximate Strehl: 0.996647
Loop #13 Approximate Strehl: 0.996750
Loop #14 Approximate Strehl: 0.996890
Loop #15 Approximate Strehl: 0.996991
Loop #16 Approximate Strehl: 0.996879
Loop #17 Approximate Strehl: 0.997133

Phase Screen Added Here
Loop #18 Approximate Strehl: 0.194611
Loop #19 Approximate Strehl: 0.783580
Loop #20 Approximate Strehl: 0.867587
Loop #21 Approximate Strehl: 0.872484
Loop #22 Approximate Strehl: 0.873048
Loop #23 Approximate Strehl: 0.868067
Loop #24 Approximate Strehl: 0.863059
Loop #25 Approximate Strehl: 0.855641
Loop #26 Approximate Strehl: 0.852633
Loop #27 Approximate Strehl: 0.854514
Loop #28 Approximate Strehl: 0.860390
Loop #29 Approximate Strehl: 0.870773
Loop #30 Approximate Strehl: 0.878142
Loop #31 Approximate Strehl: 0.881805
Loop #32 Approximate Strehl: 0.883013
Loop #33 Approximate Strehl: 0.882793
Loop #34 Approximate Strehl: 0.876488
Loop #35 Approximate Strehl: 0.867747

Phase Screen Removed Here
Loop #36 Approximate Strehl: 0.331695
Loop #37 Approximate Strehl: 0.810898
Loop #38 Approximate Strehl: 0.936237
Loop #39 Approximate Strehl: 0.976550
Loop #40 Approximate Strehl: 0.982929
Loop #41 Approximate Strehl: 0.986580
Loop #42 Approximate Strehl: 0.988327
Loop #43 Approximate Strehl: 0.989752
Loop #44 Approximate Strehl: 0.990612
Loop #45 Approximate Strehl: 0.991587
Loop #46 Approximate Strehl: 0.991761
Loop #47 Approximate Strehl: 0.992036
Loop #48 Approximate Strehl: 0.992465
Loop #49 Approximate Strehl: 0.992523
Loop #50 Approximate Strehl: 0.992464
Loop #51 Approximate Strehl: 0.992802
Loop #52 Approximate Strehl: 0.992512
Loop #53 Approximate Strehl: 0.992894
Loop #54 Approximate Strehl: 0.992088
Loop #55 Approximate Strehl: 0.992595
Loop #56 Approximate Strehl: 0.992700
Loop #57 Approximate Strehl: 0.992426
Loop #58 Approximate Strehl: 0.992422
Loop #59 Approximate Strehl: 0.992181
Loop #60 Approximate Strehl: 0.992453